## Slide 1: Lab_09
Series Compensation of transmission lines

## Slide 2: Series compensation
Series compensation is method of improving the system voltage by connecting capacitor in series with transmission line.

## Slide 3: Series Compensation
Increase transmission line power
Increase voltage stability
Drop power oscillation
Reduce line voltage drop
Limits line dependent voltage drops
Influences load flow in parallel transmission lines
Reduces transmission angle
Increase system stability

## Slide 4
Series compensation may be located at receiving end, sending end or in middle of lines, sometimes it is located in two or more points.